## Burner P1
PURCHASER / OWNER: |  |  |  | ITEM NO:
SERVICE : |  |  |  | LOCATION:
1 | GENERAL DATA |  |  |  | REV
2 | TYPE OF HEATER
3 | ALTITUDE ABOVE SEA LEVEL, m
4 | AIR SUPPLY
5 | AMBIENT / PREHEATED AIR / GAS TURBINE EXHAUST
6 | TEMPERATURE, C (MIN / DESIGN / MAX)
7 | RELATIVE HUMIDITY, %
8 | DRAFT TYPE: FORCED / NATURAL / INDUCED
11 | REQUIRED TURNDOWN
12 | BURNER WALL LINING THICKNESS, mm
13 | HEATER CASING THICKNESS, mm
14 | FIREBOX HEIGHT, m
15 | TUBE CIRCLE DIAMETER, m
16 | BURNER DATA
17 | MANUFACTURER
18 | TYPE OF BURNER
19 | MODEL / SIZE
20 | DIRECTION OF FIRING
21 | LOCATION (ROOF / FLOOR / SIDEWALL)
22 | NUMBER REQUIRED
23 | MINIMUM DISTANCE BURNER CENTRELINE; m
24 | TO TUBE CENTERLINE (HORIZONTAL / VERTICAL)
25 | TO ADJACENT BURNER CENTERLINE (HORIZONTAL / VERTICAL)
26 | TO UNSHIELDED REFRACTORY (HORIZONTAL / VERTICAL)
27 | MAXIMUM BURNER CIRCLE DIAMETER, m
28 | PILOTS :
29 | NUMER REQUIRED
30 | TYPE
31 | IGNITION METHOD
32 | FUEL
33 | FUEL PRESSURE kPag
34 | CAPACITY MW
35 | OPERATING DATA
36 | FUEL
37 | HEAT RELEASE PER BURNER, (LHV) MW
38 | DESIGN
39 | NORMAL
40 | MINIMUM
41 | EXCESS AIR @ DESIGN HEAT RELEASE, (%)
42 | AIR TEMPERATURE, C (min / normal / max)
43 | DRAFT LOSS mm wg
44 | DESIGN
45 | NORMAL
46 | MINIMUM
47 | FUEL PRESSURE REQUIRED kPag
48 | MAXIMUM FLAME LENGTH @ DESIGN HEAT RELEASE, m
49 | ATOMIZING MEDIUM / OIL RATIO, kg/kg
50 | NOTES:
51
52
53
54
BURNER DATA SHEET
| DATE: |  | CHK'D:
| BY: |  | BY:
| REV: | 0 | REF:

## Burner P2
GAS FUEL CHARACTERISTICS
1 | FUEL TYPE |  |  |  | REV
2 | HEATING VALUE (LHV), |  |  | kJ/kg
3 | SPECIFIC GRAVITY (AIR = 1.0)
4 | MOLECULAR WEIGHT
5 | FUEL TEMPERATURE @ BURNER C
6 | FUEL PRESSURE ; AVAILABLE @ BURNER, kPag
7 | FUEL GAS COMPOSITION (MOLE %)
8
9
12
13
14
15
16
17
18
19
20 |  |  | TOTAL
21 | LIQUID FUEL CHARACTERISTICS
22 | FUEL TYPE
23 | HEATING VALUE (LHV) , |  |  | kJ/kg
24 | SPECIFIC GRAVITY / DEG. API
25 | H / C RATIO (BY WEIGHT)
26 | VISCOSITY, | @ | C. (SSU)
27 |  | @ | C. (SSU)
28 | VANADIUM, ppm
29 | POTASSIUM, ppm
30 | SODIUM, ppm
31 | NICKEL, ppm
32 | FIXED NITROGEN, ppm
33 | SULFUR, % WT
34 | ASH, % WT
35 | WATER, % WT
36 | DISTILLATION : ASTM INITIAL BOILING POINT, C
37 |  | ASTM MID POINT, C
38 |  | ASTM END POINT, C
39 | FUEL TEMPERATURE @ BURNER, C
40 | FUEL PRESSURE AVAILABLE @ BURNER, bar.g
41 | ATOMISING MEDIUM: |  | AIR / STEAM / MECHANICAL
42 |  |  | TEMPERATURE, C
43 |  |  | PRESSURE, kPa.g
44 | NOTES :
45
46
47
48
49
50
51
52
53
54
55
BURNER DATA SHEET
| DATE: |  | CHK'D:
| BY: |  | BY:
| REV: | 0 | REF:

## Burner P3
MISCELLANEOUS
1 | BURNER PLENUM : |  | COMMON / INTEGRAL |  |  | REV
2 |  |  | MATERIAL
3 |  |  | PLATE THICKNESS, mm
4 |  |  | INTERNAL INSULATION
5 | INLET AIR CONTROL : |  | DAMPER OR REGISTERS
6 |  |  | MODE OF OPERATION
7 |  |  | LEAKAGE, %
8 | BURNER TILE : |  | COMPOSITION
9 |  |  | MINIMUM SERVICE TEMPERATURE, C
12 | PAINTING REQUIREMENTS
13 | IGNITION PORT : |  | SIZE / NO
14 | SIGHT PORT : |  | SIZE / NO
15 | PILOT IGNITION METHOD
16 | PILOT DETECTION METHOD
PILOT ENCLOSURE
17 | MAIN FLAME DETECTION : |  | TYPE
18 |  |  | NUMBER |  | PER BURNER
AMPLIFIER LOCATION
19 | SCANNER CONNECTION : |  | SIZE / NO
20 | SAFETY INTERLOCK SYSTEM FOR ATOMISING MEDIUM & OIL
21 | PERFORMANCE TEST REQUIRED (Y=YES OR N=NO)
HAZARDOUS AREA SPECIFICATION
| NOISE LEVEL |  |  |  | dB(A) @ 1m From Burner
INGRESS PROTECTION
22 | EMISSION REQUIREMENTS
23 | FIREBOX BRIDGEWALL TEMPERATURE, C
24 | NOx |  |  | Gas
Liquid
25 | CO
26 | UHC
27 | PARTICULATES
28 | SOx
29
30 | * CORRECTED TO 3% O2 (DRY BASIS @ DESIGN HEAT RELEASE)
31 | NOTES :
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
BURNER DATA SHEET
| DATE: |  | CHK'D:
| BY: |  | BY:
| REV: | 0 | REF: